## Slide 1: Decarbonization Strategies Where do we Start?
Jen Muir, P.E.
JKMuir, LLC

## Slide 2
Established in 2008
WBE & DBE certified
Energy & Sustainability focused
National presence
Preferred Vendor:
  National Grid, RI Energy, Eversource, United Illuminating,
JKMuir Energy & Sustainability Services
Energy Audits
Demand Savings
Energy Management Program
Energy Efficiency Funding
GHG Accounting
Biosolids Analysis
Renewable Feasibility Analysis
Envision Certification

## Slide 3: High Level Principles of Decarbonization
Increase Efficiency
Reduce energy needs in buildings, transport and industry
Build Renewables
Deploy solar, wind, and battery storage on a massive scale
Electrify Things
Rapidly adopt heat pumps and electric vehicles
Decarbonize other sectors
Develop clean, low carbon fuels
Build out carbon sinks

## Slide 4: Reducing Energy Needs
Typical WRRFs can reduce energy use by 15-30%1
Benchmark energy use
Focus on energy intensive processes/equipment
Turn it off (or turn it down)
Implement automated process controls
Right-size equipment
Monitor equipment performance to maintain efficiency
Chart: 
| Aeration | Pumping | Anaerobic Digestion | Building Systems | Solids Handling | Clarifiers | Other
Column1 | 0.53 | 0.14 | 0.14 | 0.08 | 0.04 | 0.04 | 0.03
Notes: Pie chart of energy demand at WWTFs & pie chart of emissions? By process
Facts on ~ opportunity to reduce emissions at WWTFs (how much can you save? US DOE-> 15-30%)
Highlight process pumping, aeration, mixing efficiency, and electrification opportunities
Funding programs that subsidize increased capital costs for these systems
Worth a second slide – programs are still here, utilize them more. Maybe try to throw up some examples for the amount of funding we’ve gotten in recent jobs. GAP 3 funding can be mentioned.

## Slide 5
Regional Wastewater Treatment Facility
Energy Evaluation

## Slide 6: Renewables
Behind the meter installations
  Offsetting usage of the plant is key
  Solar, cogen, mini hydro, fuel cells
Installation and procurement options, interconnection agreements, PPAs
Creating an environment that facilitates onsite generation

## Slide 7: Understanding embodied carbon
Embodied carbon refers to a quantity of CO2e associated with the materials used to construct and maintain the building throughout its lifespan
Operational carbon refers to the emissions associated with the heating, cooling, and energy use of the building

## Slide 8: The growing importance of embodied carbon emissions
Chart: Global Energy Emissions
| Transportation | Industry | Other | Operational | Construction
Global Emissions (2021) | 0.23 | 0.32 | 0.07 | 0.28 | 0.1
As we decarbonize the operational side of the building sector’s emissions, embodied carbon’s share of buildings emissions will grow
Notes: https://www.arup.com/perspectives/publications/research/section/net-zero-buildings-where-do-we-stand