## Slide 1
Founded in 1938, Vermont Electric Cooperative is a member owned electric distribution utility that provides safe, affordable, and reliable energy services.
40,000 meters
87 MW peak demand
50 MW distributed renewables
45% fixed income
Lighting the path to affordable clean energy, together.
Isle La Motte, VT
by Greg Cromer Aerial Photography

## Slide 2
Chart: Cumulative Energy Transition Impacts on PEAK – No Management
| 2020 | 2025 | 2030 | 2035 | 2040
Heat Pump | 0.3054 | 1.0554 | 7.0554 | 19.0554 | 35.8554
Electric Vehicle | 0.0136 | 0.1936 | 2.1936 | 10.1936 | 22.1936
PHEV | 0.0092 | 0.1092 | 1.7092 | 9.7092 | 19.7092
Pellet Stove | 0.0072 | 0.0312 | 0.8312 | 2.0312 | 3.6312
Heat Pump Hot Water | 0.0126 | 0.0378 | 1.0378 | 3.0378 | 7.0378
Other | 0.0058 | 0.0188 | 2.0188 | 2.6188 | 3.6188
Can we save millions in
Grid Investment with DER Management?
2040 with management?

## Slide 3: Leveraging the Distributed Grid
S. Hero
South Hero Distribution Substation
Peak Load – 7.4 MW
Solar Generation – 7.5 MW
2 capacitor banks

## Slide 4: Oct 2nd – Modeling Impact of Volt/Var Solar Inverter Settings
Power Factor as Substation Reverses Flow
Meter Voltage without and with volt/var settings