## Slide 1
Approach to Grid Flexibility
New England Electric

## Slide 2
Four forces make “grid flexibility” a central industry theme, including in National Grid's US footprint.
Affordability Pressure
  Cost concerns create scrutiny on all proactive “wires” buildout
  Regulators and stakeholders are increasingly concerned with getting more out of the existing grid assets
Large Loads
  AI data centers focus attention on rapid interconnection of unprecedented loads
  New housing and economic development risk making utilities a “blocker”
Utility DSO Capabilities
  Utilities’ maturing capabilities to dispatch “grid flexibility” makes it a solution to grid constraints now
DER Adoption
  Prevalence of DER and flexible loads is increasing
  Scale has transformed economics of distributed energy storage
Grid Flexibility Opportunity
Faster and cheaper customer connections
Lower wholesale energy costs from peak shaving
Cost savings from avoided / deferred network investments
Improved reliability with more options to balance supply and demand
Customer Benefits
Economic development, housing affordability

## Slide 3: Expanding beyond ConnectedSolutions, National Grid has a portfolio of next-generation grid flexibility solutions.
Grid Services
Non-Wires Alternatives (Scaling Up)
Connected Solutions+
Grid Services Procurements
Innovation Efforts (Pilots/Demos)
LMI Battery VPP
All Elec. New Construction
Flexible Connections
Solar
EVs
Storage
Load
DSO Capabilities
Grid Flexibility
DG
Load
Utility-Owned Storage
AMI-enabled Rate Design

## Slide 4
We are building out grid service offerings for customers.
The $50M Grid Services Compensation Fund under National Grid’s ESMP enables dispatchable DERs to meet local electric network constraints as Non-Wires Alternatives or Deferral / Bridge-to-Wires solutions.
Current Offerings
Future Outcomes
Market-Based RFPs for Grid Services
Latest RFP included 23 MA locations seeking grid services to address network needs (vs. typical 1‑location RFPs)
1‑month bid evaluation turnaround, significantly faster than the typical 6‑month process
7 locations moving to vendor contracts for grid relief via FTM and BTM batteries and smart thermostats
ConnectedSolutions+
Incremental, localized incentives overlaid on top of the core ConnectedSolutions program
First Northeast utility to launch local DR program
Currently being used as a template for other utility local DR pilots
Offered in 3 MA towns with plans to expand to ~10 more locations in Summer 2026
All Electric New Construction Building-to-Grid
Partner with all-electric multifamily and C&I building(s) to serve as flexible energy resources
Enable automated dispatch to support flexible connections on constrained distribution infrastructure​
Encourage active customer participation in providing grid relief and decreasing energy bills
Low- to Moderate-Income Battery Virtual Power Plant
Provide no-cost batteries to up to 200 income-eligible residential customers in MA
Aggregate and dispatch BTM batteries to provide local grid relief
Evaluate cost-effectiveness and customer experience for future scalability
Upcoming Offerings

## Slide 5
We’re connecting customers more quickly and cheaply with Flexible Connections.
Current State - DG Customer Use Cases For Flex Interconnection
Standard Flex Interconnection
“I’m happy to be curtailed at times of grid need in exchange for a faster interconnection”
“Bridge to” Solution
“I’ll pay for the expensive upgrade, but use flex to connect me now while the upgrade is being built”
Local Power Controller (LPC)
“I have new DG and new load that will offset my DG, and will never export to the grid”
5 Customers Enrolled
10+ customers in studies
3 Customers Enrolled
20+ customers in study queue
Next Frontier for Flexible Connections:
Developing Flexible Load Solutions
Backlog of new load requests, especially from housing is building up
Flexible connection provides “speed to power” for new load customers
Emerging optioneering approach involves iterating with customers on different configurations – flexibility, gas versus electric, etc.
Scaling with DERMS Capabilities
Implementing EV Flexible Connections
Integrating with Market-based procurements